## Results
Attribute | Report | Room_PHAERO_1_EAST | Room_PHAERO_1_INTERNAL_ONLY | Room_PHAERO_1_NORTH | Room_PHAERO_1_SOUTH | Room_PHAERO_1_WEST
CO2 | PEAK-SUMMARY | 400 | 400 | 400 | 400 | 400
MAXHEATSUP | PEAK-SUMMARY | 4747 | 3971 | 5077 | 4056 | 4571
MULTIPLICITY | PEAK-SUMMARY | 2 | 2 | 2 | 2 | 2
OTHERSUPAIRFLOW | PEAK-SUMMARY | 1.633 | 1.633 | 1.633 | 1.633 | 1.633
OTHERSUPAIRTEMP | PEAK-SUMMARY | -12.84 | -12.84 | -12.84 | -12.84 | -12.84
PEAK | PEAK-SUMMARY | FALSE | FALSE | FALSE | FALSE | FALSE
PEAK_TIME | PEAK-SUMMARY | 3945914067 | 3945914067 | 3945914067 | 3945914067 | 3945914067
PEAK_TIME_2NDSNAP | PEAK-SUMMARY | FALSE | FALSE | FALSE | FALSE | FALSE
PEAK_TYPE | PEAK-SUMMARY | MAXHEATSUP | MAXHEATSUP | MAXHEATSUP | MAXHEATSUP | MAXHEATSUP
PPD | PEAK-SUMMARY | 15.51 | 14.98 | 15.68 | 15.02 | 15.42
QINTW | PEAK-SUMMARY | -1011 | -1229 | -1020 | -1232 | -1007
QL_A | PEAK-SUMMARY | -66.37 | -66.37 | -66.37 | -66.37 | -66.37
QVENTIL | PEAK-SUMMARY | -248.1 | -248.2 | -248.1 | -248.2 | -248.1
QWCB | PEAK-SUMMARY | -2529 | -2205 | -2442 | -2183 | -2575
QWIND | PEAK-SUMMARY | -668.9 | 0 | -1077 | -104.1 | -451
Q_COOL | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_EQUIP | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_HEAT | PEAK-SUMMARY | 5054 | 4277 | 5384 | 4362 | 4877
Q_LIGHT | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_LOSS | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_OCC | PEAK-SUMMARY | 0.0001221 | 0.0001221 | 0.0001221 | 0.0001221 | 0.0001221
RELHUM | PEAK-SUMMARY | 7.693 | 7.693 | 7.693 | 7.692 | 7.693
RETAIRFLOW | PEAK-SUMMARY | -53.8654 | -53.8654 | -53.8654 | -53.8654 | -53.8654
ROOMUNITHEAT | PEAK-SUMMARY | 5054 | 4277 | 5384 | 4362 | 4877
SETPOINT | PEAK-SUMMARY | 21 | 21 | 21 | 21 | 21
SUPAIRFLOW | PEAK-SUMMARY | 54.5333 | 54.5333 | 54.5333 | 54.5333 | 54.5333
SUPAIRTEMP | PEAK-SUMMARY | 16.99 | 16.99 | 16.99 | 16.99 | 16.99
SURFHEATLOSS | PEAK-SUMMARY | 3330 | 3222 | 3260 | 3204 | 3367
TAIR | PEAK-SUMMARY | 20.76 | 20.76 | 20.76 | 20.76 | 20.76
TOP | PEAK-SUMMARY | 19.5 | 19.62 | 19.47 | 19.61 | 19.52
VENTHEATLOSS | PEAK-SUMMARY | 322.4 | 322.3 | 322.5 | 322.4 | 322.4
WINHEATLOSS | PEAK-SUMMARY | 647 | 0 | 1042 | 100.7 | 436.4
DRYVENTCOOL | ZONE-SUMMARY | 5.4857 | 5.4857 | 5.4878 | 5.4857 | 5.4857
H_T_AIR_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_AIR_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXAIRAGE | ZONE-SUMMARY | 0.969 | 0.969 | 0.969 | 0.969 | 0.969
MAXCO2 | ZONE-SUMMARY | 400 | 400 | 400 | 400 | 400
MAXEXHAIRFLOW | ZONE-SUMMARY | 1.1056 | 1.1056 | 1.1056 | 1.1056 | 1.1056
MAXHEATREM | ZONE-SUMMARY | 0 | 0.37367 | 0 | 0 | 0
MAXHEATSUP | ZONE-SUMMARY | 96.8776 | 81.0408 | 103.6122 | 82.7755 | 93.2857
MAXPPD | ZONE-SUMMARY | 24.69 | 23.76 | 25.02 | 23.84 | 24.51
MAXRELHUM | ZONE-SUMMARY | 8.958 | 8.947 | 8.961 | 8.946 | 8.955
MAXSOLAR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXSUPAIRFLOW | ZONE-SUMMARY | 1.1133 | 1.1133 | 1.1133 | 1.1133 | 1.1133
MINRELHUM | ZONE-SUMMARY | 7.563 | 7.563 | 7.563 | 7.563 | 7.563
MULTIPLICITY | ZONE-SUMMARY | 2 | 2 | 2 | 2 | 2
NET_FLOOR_AREA | ZONE-SUMMARY | 49 | 49 | 49 | 49 | 49
OCCUPANCY | ZONE-SUMMARY | 11 | 11 | 11 | 11 | 11
OCC_HOURS | ZONE-SUMMARY | 2.935e-05 | 2.935e-05 | 2.935e-05 | 2.935e-05 | 2.935e-05
PDH | ZONE-SUMMARY | 4.249e-06 | 4.095e-06 | 4.301e-06 | 4.109e-06 | 4.22e-06
ROOMUNITCOOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOLEN | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOLENAREA | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITHEAT | ZONE-SUMMARY | 103.1429 | 87.2857 | 109.8776 | 89.0204 | 99.5306
ROOMUNITHEATEN | ZONE-SUMMARY | 66.85 | 49.56 | 74.71 | 51.57 | 62.65
ROOMUNITHEATENAREA | ZONE-SUMMARY | 1.3643 | 1.0114 | 1.5247 | 1.0524 | 1.2786
TAIRMAX | ZONE-SUMMARY | 21.07 | 21.07 | 21.07 | 21.07 | 21.07
TAIRMIN | ZONE-SUMMARY | 18.94 | 18.96 | 18.94 | 18.96 | 18.95
TATMAXSUPAIRFLOW | ZONE-SUMMARY | 16.99 | 16.99 | 16.99 | 16.99 | 16.99
TOPMAX | ZONE-SUMMARY | 19.83 | 19.95 | 19.79 | 19.94 | 19.85
TOPMIN | ZONE-SUMMARY | 17.92 | 18.05 | 17.88 | 18.04 | 17.95
UNMET_COOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
UNMET_HEAT | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0