## Results
Attribute | Report | Room_PHAERO_5_EAST | Room_PHAERO_5_INTERNAL_ONLY | Room_PHAERO_5_NORTH | Room_PHAERO_5_SOUTH | Room_PHAERO_5_WEST
CO2 | PEAK-SUMMARY | 400 | 400 | 400 | 400 | 400
MAXHEATSUP | PEAK-SUMMARY | 4700 | 3923 | 5030 | 4853 | 4523
MULTIPLICITY | PEAK-SUMMARY | 2 | 2 | 2 | 2 | 2
OTHERSUPAIRFLOW | PEAK-SUMMARY | 1.633 | 1.633 | 1.633 | 1.633 | 1.633
OTHERSUPAIRTEMP | PEAK-SUMMARY | -12.84 | -12.84 | -12.84 | -12.84 | -12.84
PEAK | PEAK-SUMMARY | FALSE | FALSE | FALSE | FALSE | FALSE
PEAK_TIME | PEAK-SUMMARY | 3945914066 | 3945914066 | 3945914066 | 3945914066 | 3945914066
PEAK_TIME_2NDSNAP | PEAK-SUMMARY | FALSE | FALSE | FALSE | FALSE | FALSE
PEAK_TYPE | PEAK-SUMMARY | MAXHEATSUP | MAXHEATSUP | MAXHEATSUP | MAXHEATSUP | MAXHEATSUP
PPD | PEAK-SUMMARY | 15.47 | 14.93 | 15.63 | 15.55 | 15.38
QINTW | PEAK-SUMMARY | -1058 | -1274 | -1067 | -1062 | -1053
QL_A | PEAK-SUMMARY | -66.37 | -66.37 | -66.37 | -66.37 | -66.37
QVENTIL | PEAK-SUMMARY | -248.1 | -248.1 | -248.1 | -248.1 | -248.1
QWCB | PEAK-SUMMARY | -2434 | -2112 | -2348 | -2394 | -2481
QWIND | PEAK-SUMMARY | -669.2 | 0 | -1077 | -858.3 | -451.2
Q_COOL | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_EQUIP | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_HEAT | PEAK-SUMMARY | 5006 | 4230 | 5337 | 5159 | 4830
Q_LIGHT | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_LOSS | PEAK-SUMMARY | 0 | 0 | 0 | 0 | 0
Q_OCC | PEAK-SUMMARY | 0.0001221 | 0.0001221 | 0.0001221 | 0.0001221 | 0.0001221
RELHUM | PEAK-SUMMARY | 7.693 | 7.693 | 7.693 | 7.693 | 7.693
RETAIRFLOW | PEAK-SUMMARY | -53.8654 | -53.8654 | -53.8654 | -53.8654 | -53.8654
ROOMUNITHEAT | PEAK-SUMMARY | 5006 | 4230 | 5337 | 5159 | 4830
SETPOINT | PEAK-SUMMARY | 21 | 21 | 21 | 21 | 21
SUPAIRFLOW | PEAK-SUMMARY | 54.5333 | 54.5333 | 54.5333 | 54.5333 | 54.5333
SUPAIRTEMP | PEAK-SUMMARY | 16.99 | 16.99 | 16.99 | 16.99 | 16.99
SURFHEATLOSS | PEAK-SUMMARY | 3286 | 3177 | 3216 | 3253 | 3323
TAIR | PEAK-SUMMARY | 20.76 | 20.76 | 20.76 | 20.76 | 20.76
TOP | PEAK-SUMMARY | 19.51 | 19.63 | 19.48 | 19.5 | 19.53
VENTHEATLOSS | PEAK-SUMMARY | 322.4 | 322.3 | 322.4 | 322.4 | 322.4
WINHEATLOSS | PEAK-SUMMARY | 647.2 | 0 | 1042 | 830.1 | 436.5
DRYVENTCOOL | ZONE-SUMMARY | 5.4857 | 5.4857 | 5.4857 | 5.4857 | 5.4857
H_T_AIR_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_AIR_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_HI | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
H_T_OP_LO | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXAIRAGE | ZONE-SUMMARY | 0.969 | 0.969 | 0.969 | 0.969 | 0.969
MAXCO2 | ZONE-SUMMARY | 400 | 400 | 400 | 400 | 400
MAXEXHAIRFLOW | ZONE-SUMMARY | 1.1056 | 1.1056 | 1.1056 | 1.1056 | 1.1056
MAXHEATREM | ZONE-SUMMARY | 0 | 0.79429 | 0 | 0 | 0
MAXHEATSUP | ZONE-SUMMARY | 95.9184 | 80.0612 | 102.6531 | 99.0408 | 92.3061
MAXPPD | ZONE-SUMMARY | 24.61 | 23.68 | 24.94 | 24.77 | 24.44
MAXRELHUM | ZONE-SUMMARY | 8.958 | 8.948 | 8.961 | 8.961 | 8.954
MAXSOLAR | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
MAXSUPAIRFLOW | ZONE-SUMMARY | 1.1133 | 1.1133 | 1.1133 | 1.1133 | 1.1133
MINRELHUM | ZONE-SUMMARY | 7.563 | 7.563 | 7.563 | 7.563 | 7.563
MULTIPLICITY | ZONE-SUMMARY | 2 | 2 | 2 | 2 | 2
NET_FLOOR_AREA | ZONE-SUMMARY | 49 | 49 | 49 | 49 | 49
OCCUPANCY | ZONE-SUMMARY | 11 | 11 | 11 | 11 | 11
OCC_HOURS | ZONE-SUMMARY | 2.935e-05 | 2.935e-05 | 2.935e-05 | 2.935e-05 | 2.935e-05
PDH | ZONE-SUMMARY | 4.236e-06 | 4.082e-06 | 4.288e-06 | 4.26e-06 | 4.207e-06
ROOMUNITCOOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOLEN | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITCOOLENAREA | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
ROOMUNITHEAT | ZONE-SUMMARY | 102.1633 | 86.3265 | 108.9184 | 105.2857 | 98.5714
ROOMUNITHEATEN | ZONE-SUMMARY | 65.97 | 48.68 | 73.84 | 69.61 | 61.77
ROOMUNITHEATENAREA | ZONE-SUMMARY | 1.3463 | 0.99347 | 1.5069 | 1.4206 | 1.2606
TAIRMAX | ZONE-SUMMARY | 21.07 | 21.07 | 21.07 | 21.07 | 21.07
TAIRMIN | ZONE-SUMMARY | 18.94 | 18.96 | 18.94 | 18.94 | 18.95
TATMAXSUPAIRFLOW | ZONE-SUMMARY | 16.99 | 16.99 | 16.99 | 16.99 | 16.99
TOPMAX | ZONE-SUMMARY | 19.84 | 19.97 | 19.8 | 19.82 | 19.86
TOPMIN | ZONE-SUMMARY | 17.93 | 18.06 | 17.89 | 17.91 | 17.96
UNMET_COOL | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0
UNMET_HEAT | ZONE-SUMMARY | 0 | 0 | 0 | 0 | 0